## Read Me
ELECTRICAL ESTIMATE TEMPLATE
Priced the way electricians actually price: per device, with rough-in and finish built in.
HOW TO USE THIS
1. On the 'Device Count' tab, walk the plan and count. Enter a quantity against each device type.
Each device carries an all-in unit price - material plus the labour to rough it in and trim it out.
2. Add home-run circuits, service work and wire on the same tab.
3. The 'Estimate' tab totals it, adds permit and fixed costs, and applies overhead and profit.
WHY PER-DEVICE AND NOT PER-HOUR
Hourly estimating punishes you for being fast and hides the material. Per-device unit pricing is how
the trade has priced residential work for decades: you count openings off the plan, multiply, and you
have a number in minutes that reflects both the copper and the crew.
The unit prices supplied here are starting points, not your prices. Take three jobs you have already
finished, divide your real cost by the device count, and replace these numbers with yours.
WHAT THE UNIT PRICES INCLUDE
Box, device, plate, the branch wiring back to the nearest junction, and the labour for both rough-in
and trim-out. They do NOT include the home-run circuit to the panel, the fixture itself, the permit,
or any drywall repair - those are separate lines so you can see them.
DISCLAIMER
An estimating aid only. Electrical work is life-safety work governed by code and licensing rules that
vary by jurisdiction. Nothing here is a design, a code interpretation, or legal advice.

## Device Count
DEVICE COUNT
Count off the plan. Unit prices are all-in: material plus rough-in and trim labour.
COUNT
Item | Qty | Unit price | Extended
DEVICES & OUTLETS
Standard receptacle (15A/20A) | 24 | 78 | 1872
GFCI receptacle | 6 | 128 | 768
AFCI / combination protected outlet | 0 | 145 | 0
Single-pole switch | 14 | 82 | 1148
Three-way switch | 4 | 118 | 472
Dimmer switch | 3 | 132 | 396
USB / smart receptacle | 0 | 155 | 0
240V outlet (dryer, range, welder) | 2 | 295 | 590
Exterior weatherproof receptacle | 2 | 165 | 330
LIGHTING
Recessed can - housing & trim | 18 | 165 | 2970
Surface / pendant fixture (labour only) | 6 | 95 | 570
Ceiling fan with brace box | 3 | 245 | 735
Under-cabinet lighting run | 1 | 385 | 385
Exterior fixture | 4 | 135 | 540
Fixture supplied by owner? | 0 | 0 | 0
SAFETY & LOW VOLTAGE
Smoke / CO combination detector, interconnected | 6 | 165 | 990
Data / coax drop | 0 | 125 | 0
Doorbell / video doorbell | 1 | 185 | 185
CIRCUITS & SERVICE
Home-run branch circuit to panel | 22 | 145 | 3190
Dedicated appliance circuit | 4 | 195 | 780
Sub-panel, 100A | 0 | 1250 | 0
Service / panel upgrade, 200A | 0 | 3200 | 0
EV charger circuit & install | 0 | 1450 | 0
Generator interlock / transfer switch | 0 | 1150 | 0
WIRE & MISC
14/2 NM cable | 0 | 0.42 | 0 | Wire lines price per linear foot.
12/2 NM cable | 0 | 0.58 | 0
12/3 NM cable | 0 | 0.92 | 0
Trenching / conduit run | 0 | 0 | 0
DEVICE & CIRCUIT TOTAL |  |  | 15921
Total openings counted | 120

## Estimate
ELECTRICAL ESTIMATE
[ YOUR COMPANY ] ¦ Phone ¦ Email ¦ Licence #
Customer / job address:
| Estimate # | Date
MARGIN & TAX - set once
Overhead | 10% | What it costs you to exist. Recover it on every job.
Profit | 10% | Applied after overhead, not instead of it.
Sales tax | 0% | Your local rate, or 0 if not taxable
FIXED & ADDITIONAL COSTS
Item | Qty | Unit | Cost | Line total
Permit | 1 | ea | 320 | 320
Inspection fees | 1 | ea | 145 | 145
Temporary power | 0 | ea | 0 | 0
Drywall / finish repair allowance | 0 | ea | 0 | 0
Lift or equipment rental | 0 | day | 0 | 0
Engineering / load calculation | 0 | ea | 0 | 0
Other | 0 | ea | 0 | 0
Fixed cost subtotal |  |  |  | 465
ESTIMATE SUMMARY
Devices, circuits and wire |  |  |  | 15921
Permit, inspection and other |  |  |  | 465
JOB COST |  |  |  | 16386
Overhead |  |  |  | 1638.6
Subtotal after overhead |  |  |  | 18024.6
Profit |  |  |  | 1802.46
Price before tax |  |  |  | 19827.06
Sales tax |  |  |  | 0
TOTAL ESTIMATE |  |  |  | 19827.06
Price per opening |  |  |  | 165.2255 | Compare against your last three jobs.
Gross margin % |  |  |  | 17.36%